## Sheet1
# file...... IEEE13_Home_12_HVAC_Year_21Yers.csv
# date...... Fri Aug 26 17:10:33 2022
# user...... rahman
# host...... (null)
# target.... house 223
# trigger... (none)
# interval.. 60
# limit..... 0
# timestamp | hvac_load | energy | heating_setpoint | cooling_setpoint | mass_temperature | air_temperature | outdoor_temperature | system_mode | thermostat_deadband | aux_heat_deadband | floor_area | number_of_doors | number_of_stories | window_wall_ratio | heating_COP | cooling_COP | aux_heat_temperature_lockout
2000-01-01 00:00:00 PST | 0 | +0+0i | 72 | 79 | 72.4301 | 72.4301 | 28.942 | OFF | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:01:00 PST | 0 | +0+0i | 72 | 79 | 72.4254 | 72.0956 | 28.942 | OFF | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:02:00 PST | 0 | +0+0i | 72 | 79 | 72.4091 | 71.8104 | 28.942 | OFF | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:03:00 PST | 0 | +0+0i | 72 | 79 | 72.3835 | 71.5655 | 28.942 | OFF | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:04:00 PST | 0 | +0+0i | 72 | 79 | 72.3502 | 71.3535 | 28.942 | OFF | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:05:00 PST | 0 | +0+0i | 72 | 79 | 72.3107 | 71.1684 | 28.942 | OFF | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:06:00 PST | 0 | +0+0i | 72 | 79 | 72.2661 | 71.0054 | 28.942 | OFF | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:07:00 PST | 2.4732 | +0.0391585+0i | 72 | 79 | 72.2255 | 71.2985 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:08:00 PST | 2.4732 | +0.080378+0i | 72 | 79 | 72.1974 | 71.5633 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:09:00 PST | 2.4732 | +0.121598+0i | 72 | 79 | 72.1795 | 71.7847 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:10:00 PST | 2.4732 | +0.162817+0i | 72 | 79 | 72.17 | 71.9704 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:11:00 PST | 2.4732 | +0.204037+0i | 72 | 79 | 72.1673 | 72.1271 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:12:00 PST | 2.4732 | +0.245256+0i | 72 | 79 | 72.1702 | 72.2599 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:13:00 PST | 2.4732 | +0.286475+0i | 72 | 79 | 72.1775 | 72.3734 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:14:00 PST | 2.4732 | +0.327695+0i | 72 | 79 | 72.1886 | 72.4709 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:15:00 PST | 2.4732 | +0.368914+0i | 72 | 79 | 72.2027 | 72.5555 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:16:00 PST | 2.4732 | +0.410134+0i | 72 | 79 | 72.2193 | 72.6294 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:17:00 PST | 2.4732 | +0.451353+0i | 72 | 79 | 72.2379 | 72.6946 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:18:00 PST | 2.4732 | +0.492573+0i | 72 | 79 | 72.2581 | 72.7528 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:19:00 PST | 2.4732 | +0.533792+0i | 72 | 79 | 72.2796 | 72.8051 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:20:00 PST | 2.4732 | +0.575012+0i | 72 | 79 | 72.3021 | 72.8526 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:21:00 PST | 2.4732 | +0.616231+0i | 72 | 79 | 72.3256 | 72.8962 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:22:00 PST | 2.4732 | +0.657451+0i | 72 | 79 | 72.3497 | 72.9366 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:23:00 PST | 2.4732 | +0.69867+0i | 72 | 79 | 72.3744 | 72.9744 | 28.942 | HEAT | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:24:00 PST | 0 | +0.728211+0i | 72 | 79 | 72.3988 | 72.8723 | 28.942 | OFF | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:25:00 PST | 0 | +0.728211+0i | 72 | 79 | 72.4106 | 72.4673 | 28.942 | OFF | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10
2000-01-01 00:26:00 PST | 0 | +0.728211+0i | 72 | 79 | 72.4078 | 72.1245 | 28.942 | OFF | 2 | 2 | 2022 | 4 | 1 | 0.07575 | 4 | 4 | 10